## Asset_Cal_Info
Sensor Code | startDateTime | stopDateTime | Sensor.uid | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes | Source | Undefined Sensors
ADCPSL | 2013-09-01 |  | N00506 | 13992 | CC_scale_factor1 | 0.45 |  | From GS03FLMB-00001
ADCPSL | 2013-09-01 |  | N00506 | 13992 | CC_scale_factor2 | 0.45
ADCPSL | 2013-09-01 |  | N00506 | 13992 | CC_scale_factor3 | 0.45
ADCPSL | 2013-09-01 |  | N00506 | 13992 | CC_scale_factor4 | 0.45
ADCPSC | 2012-08-22 |  | A00058 | 17122 | CC_scale_factor1 | 0.45 |  | From CE09OSSM-00001, CE09OSSM-00003
ADCPSC | 2012-08-22 |  | A00058 | 17122 | CC_scale_factor2 | 0.45
ADCPSC | 2012-08-22 |  | A00058 | 17122 | CC_scale_factor3 | 0.45
ADCPSC | 2012-08-22 |  | A00058 | 17122 | CC_scale_factor4 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18152 | CC_scale_factor1 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18152 | CC_scale_factor2 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18152 | CC_scale_factor3 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18152 | CC_scale_factor4 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18153 | CC_scale_factor1 | 0.45 |  | From CE04OSBP-00001
ADCPSI | 2012-09-14 |  | A00064 | 18153 | CC_scale_factor2 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18153 | CC_scale_factor3 | 0.45
ADCPSI | 2012-09-14 |  | A00064 | 18153 | CC_scale_factor4 | 0.45
ADCPSM | 2012-08-22 |  | A00055 | 18222 | CC_scale_factor1 | 0.45 |  | From CE02SHSM-00003, CE07SHSM-00001
ADCPSM | 2012-08-22 |  | A00055 | 18222 | CC_scale_factor2 | 0.45
ADCPSM | 2012-08-22 |  | A00055 | 18222 | CC_scale_factor3 | 0.45
ADCPSM | 2012-08-22 |  | A00055 | 18222 | CC_scale_factor4 | 0.45
ADCPSA | 2012-08-22 |  | A00056 | 18225 | CC_scale_factor1 | 0.45 |  | From CE01ISSM-00001, CE01ISSM-00005
ADCPSA | 2012-08-22 |  | A00056 | 18225 | CC_scale_factor2 | 0.45
ADCPSA | 2012-08-22 |  | A00056 | 18225 | CC_scale_factor3 | 0.45
ADCPSA | 2012-08-22 |  | A00056 | 18225 | CC_scale_factor4 | 0.45
ADCPSL | 2012-09-25 |  | A00075 | 18260 | CC_scale_factor1 | 0.45 |  | From GP03FLMB-00001
ADCPSL | 2012-09-25 |  | A00075 | 18260 | CC_scale_factor2 | 0.45
ADCPSL | 2012-09-25 |  | A00075 | 18260 | CC_scale_factor3 | 0.45
ADCPSL | 2012-09-25 |  | A00075 | 18260 | CC_scale_factor4 | 0.45
ADCPSL | 2016-01-01 |  | A00075 | 18260 | CC_scale_factor1 | 0.45 |  | From GP03FLMA-00004
ADCPSL | 2016-01-01 |  | A00075 | 18260 | CC_scale_factor2 | 0.45
ADCPSL | 2016-01-01 |  | A00075 | 18260 | CC_scale_factor3 | 0.45
ADCPSL | 2016-01-01 |  | A00075 | 18260 | CC_scale_factor4 | 0.45
ADCPSL | 2012-09-25 |  | A00076 | 18261 | CC_scale_factor1 | 0.45
ADCPSL | 2012-09-25 |  | A00076 | 18261 | CC_scale_factor2 | 0.45
ADCPSL | 2012-09-25 |  | A00076 | 18261 | CC_scale_factor3 | 0.45
ADCPSL | 2012-09-25 |  | A00076 | 18261 | CC_scale_factor4 | 0.45
ADCPSL | 2012-09-28 |  | A00068 | 18351 | CC_scale_factor1 | 0.45 |  | From GP03FLMA-00001
ADCPSL | 2012-09-28 |  | A00068 | 18351 | CC_scale_factor2 | 0.45
ADCPSL | 2012-09-28 |  | A00068 | 18351 | CC_scale_factor3 | 0.45
ADCPSL | 2012-09-28 |  | A00068 | 18351 | CC_scale_factor4 | 0.45
ADCPSL | 2016-01-01 |  | A00068 | 18351 | CC_scale_factor1 | 0.45 |  | From GP03FLMB-00004
ADCPSL | 2016-01-01 |  | A00068 | 18351 | CC_scale_factor2 | 0.45
ADCPSL | 2016-01-01 |  | A00068 | 18351 | CC_scale_factor3 | 0.45
ADCPSL | 2016-01-01 |  | A00068 | 18351 | CC_scale_factor4 | 0.45
ADCPSL | 2012-09-28 |  | A00067 | 18352 | CC_scale_factor1 | 0.45 |  | From GP03FLMA-00001
ADCPSL | 2012-09-28 |  | A00067 | 18352 | CC_scale_factor2 | 0.45
ADCPSL | 2012-09-28 |  | A00067 | 18352 | CC_scale_factor3 | 0.45
ADCPSL | 2012-09-28 |  | A00067 | 18352 | CC_scale_factor4 | 0.45
ADCPSL | 2012-09-25 |  | A00077 | 18353 | CC_scale_factor1 | 0.45 |  | From GI03FLMB-00001
ADCPSL | 2012-09-25 |  | A00077 | 18353 | CC_scale_factor2 | 0.45
ADCPSL | 2012-09-25 |  | A00077 | 18353 | CC_scale_factor3 | 0.45
ADCPSL | 2012-09-25 |  | A00077 | 18353 | CC_scale_factor4 | 0.45
ADCPSL | 2016-01-01 |  | A00077 | 18353 | CC_scale_factor1 | 0.45 |  | From GI03FLMA-00003
ADCPSL | 2016-01-01 |  | A00077 | 18353 | CC_scale_factor2 | 0.45
ADCPSL | 2016-01-01 |  | A00077 | 18353 | CC_scale_factor3 | 0.45
ADCPSL | 2016-01-01 |  | A00077 | 18353 | CC_scale_factor4 | 0.45
ADCPSL | 2012-10-01 |  | A00069 | 18445 | CC_scale_factor1 | 0.45
ADCPSL | 2012-10-01 |  | A00069 | 18445 | CC_scale_factor2 | 0.45
ADCPSL | 2012-10-01 |  | A00069 | 18445 | CC_scale_factor3 | 0.45
ADCPSL | 2012-10-01 |  | A00069 | 18445 | CC_scale_factor4 | 0.45
ADCPSL | 2012-09-28 |  | A00070 | 18446 | CC_scale_factor1 | 0.45
ADCPSL | 2012-09-28 |  | A00070 | 18446 | CC_scale_factor2 | 0.45
ADCPSL | 2012-09-28 |  | A00070 | 18446 | CC_scale_factor3 | 0.45
ADCPSL | 2012-09-28 |  | A00070 | 18446 | CC_scale_factor4 | 0.45
ADCPSTE | 2012-01-13 |  | ATAPL-68073-00001 | 18471 | CC_scale_factor1 | 0.45
ADCPSTE | 2012-01-13 |  | ATAPL-68073-00001 | 18471 | CC_scale_factor2 | 0.45
ADCPSTE | 2012-01-13 |  | ATAPL-68073-00001 | 18471 | CC_scale_factor3 | 0.45
ADCPSTE | 2012-01-13 |  | ATAPL-68073-00001 | 18471 | CC_scale_factor4 | 0.45
ADCPSTD | 2015-09-15 |  | ATAPL-58315-00001 | 18478 | CC_scale_factor1 | 0.45
ADCPSTD | 2015-09-15 |  | ATAPL-58315-00001 | 18478 | CC_scale_factor2 | 0.45
ADCPSTD | 2015-09-15 |  | ATAPL-58315-00001 | 18478 | CC_scale_factor3 | 0.45
ADCPSTD | 2015-09-15 |  | ATAPL-58315-00001 | 18478 | CC_scale_factor4 | 0.45
ADCPSB | 2012-08-26 |  | A00057 | 18493 | CC_scale_factor1 | 0.45 |  | From CE02SHBP-00001
ADCPSB | 2012-08-26 |  | A00057 | 18493 | CC_scale_factor2 | 0.45
ADCPSB | 2012-08-26 |  | A00057 | 18493 | CC_scale_factor3 | 0.45
ADCPSB | 2012-08-26 |  | A00057 | 18493 | CC_scale_factor4 | 0.45
ADCPTF | 2015-01-01 |  | A00071 | 18593 | CC_scale_factor1 | 0.45 | Factory supplied scale factor, instrument and beam specific [dB/count] | From CP01CNSM-00003
ADCPTF | 2015-01-01 |  | A00071 | 18593 | CC_scale_factor2 | 0.45 | Factory supplied scale factor, instrument and beam specific [dB/count]
ADCPTF | 2015-01-01 |  | A00071 | 18593 | CC_scale_factor3 | 0.45 | Factory supplied scale factor, instrument and beam specific [dB/count]
ADCPTF | 2015-01-01 |  | A00071 | 18593 | CC_scale_factor4 | 0.45 | Factory supplied scale factor, instrument and beam specific [dB/count]
ADCPTF | 2013-06-01 |  | A00072 | 18594 | CC_scale_factor1 | 0.45 |  | From CP01CNSM-00001, CP03ISSM-00002
ADCPTF | 2013-06-01 |  | A00072 | 18594 | CC_scale_factor2 | 0.45
ADCPTF | 2013-06-01 |  | A00072 | 18594 | CC_scale_factor3 | 0.45
ADCPTF | 2013-06-01 |  | A00072 | 18594 | CC_scale_factor4 | 0.45
ADCPTG | 2012-11-14 |  | A00235 | 18596 | CC_scale_factor1 | 0.45 | units = mm | From CP02PMCI-00001
ADCPTG | 2013-02-20 |  | A00235 | 18596 | CC_scale_factor2 | 0.45
ADCPTG | 2013-02-20 |  | A00235 | 18596 | CC_scale_factor3 | 0.45
ADCPTG | 2013-02-20 |  | A00235 | 18596 | CC_scale_factor4 | 0.45
ADCPTG | 2013-02-20 |  | A00089 | 18660 | CC_scale_factor1 | 0.45 | units = mm
ADCPTG | 2013-02-20 |  | A00089 | 18660 | CC_scale_factor2 | 0.45
ADCPTG | 2013-02-20 |  | A00089 | 18660 | CC_scale_factor3 | 0.45
ADCPTG | 2013-02-20 |  | A00089 | 18660 | CC_scale_factor4 | 0.45
ADCPSTE | 2012-11-17 |  | ATAPL-68073-00002 | 18813 | CC_scale_factor1 | 0.45 |  | From RS01SLBS
ADCPSTE | 2012-11-17 |  | ATAPL-68073-00002 | 18813 | CC_scale_factor2 | 0.45
ADCPSTE | 2012-11-17 |  | ATAPL-68073-00002 | 18813 | CC_scale_factor3 | 0.45
ADCPSTE | 2012-11-17 |  | ATAPL-68073-00002 | 18813 | CC_scale_factor4 | 0.45
ADCPSI | 2013-01-22 |  | A00221 | 18919 | CC_scale_factor1 | 0.45
ADCPSI | 2013-01-22 |  | A00221 | 18919 | CC_scale_factor2 | 0.45
ADCPSI | 2013-01-22 |  | A00221 | 18919 | CC_scale_factor3 | 0.45
ADCPSI | 2013-01-22 |  | A00221 | 18919 | CC_scale_factor4 | 0.45
ADCPTD | 2015-09-15 |  | ATAPL-58315-00002 | 18974 | CC_scale_factor1 | 0.45 |  | From RS03AXPS
ADCPTD | 2015-09-15 |  | ATAPL-58315-00002 | 18974 | CC_scale_factor2 | 0.45
ADCPTD | 2015-09-15 |  | ATAPL-58315-00002 | 18974 | CC_scale_factor3 | 0.45
ADCPTD | 2015-09-15 |  | ATAPL-58315-00002 | 18974 | CC_scale_factor4 | 0.45
ADCPSK | 2013-01-04 |  | A00182 | 18975 | CC_scale_factor1 | 0.45 |  | From RS01SUM2
ADCPSK | 2013-01-04 |  | A00182 | 18975 | CC_scale_factor2 | 0.45
ADCPSK | 2013-01-04 |  | A00182 | 18975 | CC_scale_factor3 | 0.45
ADCPSK | 2013-01-04 |  | A00182 | 18975 | CC_scale_factor4 | 0.45
ADCPSJ | 2013-01-04 |  | ATAPL-58419-00002 | 18976 | CC_scale_factor1 | 0.45
ADCPSJ | 2013-01-04 |  | A00182 | 18976 | CC_scale_factor2 | 0.45
ADCPSJ | 2013-01-04 |  | A00182 | 18976 | CC_scale_factor3 | 0.45
ADCPSJ | 2013-01-04 |  | A00182 | 18976 | CC_scale_factor4 | 0.45
ADCPSJ | 2013-01-22 |  | A00223 | 18978 | CC_scale_factor1 | 0.45 |  | From CE09OSSM-00001, CE09OSSM-00003
ADCPSJ | 2013-01-22 |  | A00223 | 18978 | CC_scale_factor2 | 0.45
ADCPSJ | 2013-01-22 |  | A00223 | 18978 | CC_scale_factor3 | 0.45
ADCPSJ | 2013-01-22 |  | A00223 | 18978 | CC_scale_factor4 | 0.45
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00003 | 18980 | CC_scale_factor1 | 0.45 |  | From RS01SBPS
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00003 | 18980 | CC_scale_factor2 | 0.45
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00003 | 18980 | CC_scale_factor3 | 0.45
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00003 | 18980 | CC_scale_factor4 | 0.45
ADCPTC | 2012-12-19 |  | A00243 | 19000 | CC_scale_factor1 | 0.45 |  | From CE04OSSM-00001, CE07SHSM-00001, CE07SHSM-00003
ADCPTC | 2012-12-19 |  | A00243 | 19000 | CC_scale_factor2 | 0.45
ADCPTC | 2012-12-19 |  | A00243 | 19000 | CC_scale_factor3 | 0.45
ADCPTC | 2012-12-19 |  | A00243 | 19000 | CC_scale_factor4 | 0.45
ADCPSC | 2012-12-19 |  | A00244 | 19002 | CC_scale_factor1 | 0.45
ADCPSC | 2012-12-19 |  | A00244 | 19002 | CC_scale_factor2 | 0.45
ADCPSC | 2012-12-19 |  | A00244 | 19002 | CC_scale_factor3 | 0.45
ADCPSC | 2012-12-19 |  | A00244 | 19002 | CC_scale_factor4 | 0.45
ADCPSB | 2014-06-06 |  | ATOSU-69826-00002 | 19003 | CC_scale_factor1 | 0.45 |  | From CE02SHBP-00002
ADCPSB | 2014-06-06 |  | ATOSU-69826-00002 | 19003 | CC_scale_factor2 | 0.45
ADCPSB | 2014-06-06 |  | ATOSU-69826-00002 | 19003 | CC_scale_factor3 | 0.45
ADCPSB | 2014-06-06 |  | ATOSU-69826-00002 | 19003 | CC_scale_factor4 | 0.45
ADCPSA | 2012-12-19 |  | A00240 | 19016 | CC_scale_factor1 | 0.45 |  | From CE02SHSM-00001, CE07SHSM-00003
ADCPSA | 2012-12-19 |  | A00240 | 19016 | CC_scale_factor2 | 0.45
ADCPSA | 2012-12-19 |  | A00240 | 19016 | CC_scale_factor3 | 0.45
ADCPSA | 2012-12-19 |  | A00240 | 19016 | CC_scale_factor4 | 0.45
ADCPTM | 2012-12-19 |  | A00245 | 19023 | CC_scale_factor1 | 0.45 |  | From CE06ISSM-00001
ADCPTM | 2012-12-19 |  | A00245 | 19023 | CC_scale_factor2 | 0.45
ADCPTM | 2012-12-19 |  | A00245 | 19023 | CC_scale_factor3 | 0.45
ADCPTM | 2012-12-19 |  | A00245 | 19023 | CC_scale_factor4 | 0.45
ADCPSA | 2012-12-19 |  | A00241 | 19024 | CC_scale_factor1 | 0.45 |  | From CE02SHSM-00002
ADCPSA | 2012-12-19 |  | A00241 | 19024 | CC_scale_factor2 | 0.45
ADCPSA | 2012-12-19 |  | A00241 | 19024 | CC_scale_factor3 | 0.45
ADCPSA | 2012-12-19 |  | A00241 | 19024 | CC_scale_factor4 | 0.45
ADCPSJ | 2013-01-22 |  | A00222 | 19061 | CC_scale_factor1 | 0.45
ADCPSJ | 2013-01-22 |  | A00222 | 19061 | CC_scale_factor2 | 0.45
ADCPSJ | 2013-01-22 |  | A00222 | 19061 | CC_scale_factor3 | 0.45
ADCPSJ | 2013-01-22 |  | A00222 | 19061 | CC_scale_factor4 | 0.45
VADCPA | 2014-06-01 |  | ATAPL-58345-00002 | 19073 | CC_scale_factor1 | 0.45 |  | From RS03AXPS
VADCPA | 2014-06-01 |  | ATAPL-58345-00002 | 19073 | CC_scale_factor2 | 0.45
VADCPA | 2014-06-01 |  | ATAPL-58345-00002 | 19073 | CC_scale_factor3 | 0.45
VADCPA | 2014-06-01 |  | ATAPL-58345-00002 | 19073 | CC_scale_factor4 | 0.45
VADCPA | 2015-06-01 |  | ATAPL-58345-00003 | 19075 | CC_scale_factor1 | 0.45 |  | From RS01SBPS
VADCPA | 2015-06-01 |  | ATAPL-58345-00003 | 19075 | CC_scale_factor2 | 0.45
VADCPA | 2015-06-01 |  | ATAPL-58345-00003 | 19075 | CC_scale_factor3 | 0.45
VADCPA | 2015-06-01 |  | ATAPL-58345-00003 | 19075 | CC_scale_factor4 | 0.45
ADCPTG | 2013-02-20 |  | A00234 | 19151 | CC_scale_factor1 | 0.45 | units = mm
ADCPTG | 2013-02-20 |  | A00234 | 19151 | CC_scale_factor2 | 0.45
ADCPTG | 2013-02-20 |  | A00234 | 19151 | CC_scale_factor3 | 0.45
ADCPTG | 2013-02-20 |  | A00234 | 19151 | CC_scale_factor4 | 0.45
ADCPTF | 2013-01-31 |  | A00205 | 19221 | CC_scale_factor1 | 0.45 |  | From CP03ISSM-00004
ADCPTF | 2013-01-31 |  | A00205 | 19221 | CC_scale_factor2 | 0.45
ADCPTF | 2013-01-31 |  | A00205 | 19221 | CC_scale_factor3 | 0.45
ADCPTF | 2013-01-31 |  | A00205 | 19221 | CC_scale_factor4 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00003 | 19224 | CC_scale_factor1 | 0.45 |  | From RS03AXBS
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00003 | 19224 | CC_scale_factor2 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00003 | 19224 | CC_scale_factor3 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00003 | 19224 | CC_scale_factor4 | 0.45
ADCPTG | 2015-07-13 |  | A00088 | 19336 | CC_scale_factor1 | 0.45 | units = mm
ADCPTG | 2015-07-13 |  | A00088 | 19336 | CC_scale_factor2 | 0.45
ADCPTG | 2015-07-13 |  | A00088 | 19336 | CC_scale_factor3 | 0.45
ADCPTG | 2015-07-13 |  | A00088 | 19336 | CC_scale_factor4 | 0.45
ADCPSL | 2013-09-25 |  | A00439 | 20346 | CC_scale_factor1 | 0.45
ADCPSL | 2013-09-25 |  | A00439 | 20346 | CC_scale_factor2 | 0.45
ADCPSL | 2013-09-25 |  | A00439 | 20346 | CC_scale_factor3 | 0.45
ADCPSL | 2013-09-25 |  | A00439 | 20346 | CC_scale_factor4 | 0.45
ADCPTG | 2013-10-21 |  | A00491 | 20495 | CC_scale_factor1 | 0.45 |  | From CP02PMCI-00002, CP02PMCI-00004
ADCPTG | 2013-10-21 |  | A00491 | 20495 | CC_scale_factor2 | 0.45
ADCPTG | 2013-10-21 |  | A00491 | 20495 | CC_scale_factor3 | 0.45
ADCPTG | 2013-10-21 |  | A00491 | 20495 | CC_scale_factor4 | 0.45
ADCPTG | 2013-10-22 |  | A00492 | 20496 | CC_scale_factor1 | 0.45
ADCPTG | 2013-10-22 |  | A00492 | 20496 | CC_scale_factor2 | 0.45
ADCPTG | 2013-10-22 |  | A00492 | 20496 | CC_scale_factor3 | 0.45
ADCPTG | 2013-10-22 |  | A00492 | 20496 | CC_scale_factor4 | 0.45
ADCPTG | 2013-10-25 |  | A00493 | 20499 | CC_scale_factor1 | 0.45
ADCPTG | 2013-10-25 |  | A00493 | 20499 | CC_scale_factor2 | 0.45
ADCPTG | 2013-10-25 |  | A00493 | 20499 | CC_scale_factor3 | 0.45
ADCPTG | 2013-10-25 |  | A00493 | 20499 | CC_scale_factor4 | 0.45
ADCPSL | 2013-11-08 |  | A00568 | 20502 | CC_scale_factor1 | 0.45 |  | From GP03FLMA-00002
ADCPSL | 2013-11-08 |  | A00568 | 20502 | CC_scale_factor2 | 0.45
ADCPSL | 2013-11-08 |  | A00568 | 20502 | CC_scale_factor3 | 0.45
ADCPSL | 2013-11-08 |  | A00568 | 20502 | CC_scale_factor4 | 0.45
ADCPSL | 2013-11-13 |  | A00569 | 20503 | CC_scale_factor1 | 0.45 |  | From GI03FLMA-00001, GA03FLMA-00001
ADCPSL | 2013-11-13 |  | A00569 | 20503 | CC_scale_factor2 | 0.45
ADCPSL | 2013-11-13 |  | A00569 | 20503 | CC_scale_factor3 | 0.45
ADCPSL | 2014-06-01 |  | A00569 | 20503 | CC_scale_factor4 | 0.45
ADCPSL | 2013-11-15 |  | A00570 | 20504 | CC_scale_factor1 | 0.45 |  | From GP03FLMB-00002
ADCPSL | 2013-11-15 |  | A00570 | 20504 | CC_scale_factor2 | 0.45
ADCPSL | 2013-11-15 |  | A00570 | 20504 | CC_scale_factor3 | 0.45
ADCPSL | 2013-11-15 |  | A00570 | 20504 | CC_scale_factor4 | 0.45
ADCPTF | 2013-10-25 |  | A00494 | 20530 | CC_scale_factor1 | 0.45 |  | From CP03ISSM-00003
ADCPTF | 2013-10-25 |  | A00494 | 20530 | CC_scale_factor2 | 0.45
ADCPTF | 2013-10-25 |  | A00494 | 20530 | CC_scale_factor3 | 0.45
ADCPTF | 2013-10-25 |  | A00494 | 20530 | CC_scale_factor4 | 0.45
ADCPSN | 2014-09-01 |  | A00655 | 21002 | CC_scale_factor1 | 0.45 |  | From GS01SUMO-00001
ADCPSN | 2014-09-01 |  | A00655 | 21002 | CC_scale_factor2 | 0.45
ADCPSN | 2014-09-01 |  | A00655 | 21002 | CC_scale_factor3 | 0.45
ADCPSN | 2014-09-01 |  | A00655 | 21002 | CC_scale_factor4 | 0.45
ADCPSJ | 2015-01-01 |  | A01503 | 21393 | CC_scale_factor1 | 0.45 |  | From GP03FLMA-00003
ADCPSJ | 2015-01-01 |  | A01503 | 21393 | CC_scale_factor2 | 0.45
ADCPSJ | 2015-01-01 |  | A01503 | 21393 | CC_scale_factor3 | 0.45
ADCPSJ | 2015-01-01 |  | A01503 | 21393 | CC_scale_factor4 | 0.45
ADCPSL | 2015-05-13 |  | A01505 | 21446 | CC_scale_factor1 | 0.45
ADCPSL | 2015-05-13 |  | A01505 | 21446 | CC_scale_factor2 | 0.45
ADCPSL | 2015-05-13 |  | A01505 | 21446 | CC_scale_factor3 | 0.45
ADCPSL | 2015-05-13 |  | A01505 | 21446 | CC_scale_factor4 | 0.45
ADCPSL | 2015-09-11 |  | A01504 | 21450 | CC_scale_factor1 | 0.45
ADCPSL | 2015-09-11 |  | A01504 | 21450 | CC_scale_factor2 | 0.45
ADCPSL | 2015-09-11 |  | A01504 | 21450 | CC_scale_factor3 | 0.45
ADCPSL | 2015-09-11 |  | A01504 | 21450 | CC_scale_factor4 | 0.45
ADCPSJ | 2015-06-01 |  | A00816 | 21496 | CC_scale_factor1 | 0.45 |  | From CP04OSSM-00003
ADCPSJ | 2015-06-01 |  | A00816 | 21496 | CC_scale_factor2 | 0.45
ADCPSJ | 2015-06-01 |  | A00816 | 21496 | CC_scale_factor3 | 0.45
ADCPSJ | 2015-06-01 |  | A00816 | 21496 | CC_scale_factor4 | 0.45
ADCPSL | 2013-10-07 |  | A01506 | 21497 | CC_scale_factor1 | 0.45 |  | From GA01FLMB-00001
ADCPSL | 2013-10-07 |  | A01506 | 21497 | CC_scale_factor2 | 0.45
ADCPSL | 2013-10-07 |  | A01506 | 21497 | CC_scale_factor3 | 0.45
ADCPSL | 2013-10-07 |  | A01506 | 21497 | CC_scale_factor4 | 0.45
ADCPSL | 2016-01-01 |  | A01506 | 21497 | CC_scale_factor1 | 0.45 |  | From GI01FLMB-00003
ADCPSL | 2016-01-01 |  | A01506 | 21497 | CC_scale_factor2 | 0.45
ADCPSL | 2016-01-01 |  | A01506 | 21497 | CC_scale_factor3 | 0.45
ADCPSL | 2016-01-01 |  | A01506 | 21497 | CC_scale_factor4 | 0.45
ADCPSI | 2014-06-06 |  | ATOSU-69825-00001 | 21498 | CC_scale_factor1 | 0.45 |  | From CE04OSBP-00002
ADCPSI | 2014-06-06 |  | ATOSU-69825-00001 | 21498 | CC_scale_factor2 | 0.45
ADCPSI | 2014-06-06 |  | ATOSU-69825-00001 | 21498 | CC_scale_factor3 | 0.45
ADCPSI | 2014-06-06 |  | ATOSU-69825-00001 | 21498 | CC_scale_factor4 | 0.45
ADCPSM | 2014-03-27 |  | A01051 | 21517 | CC_scale_factor1 | 0.45 |  | From CE01ISSM-00002, CE06ISSM-00003
ADCPSM | 2014-03-27 |  | A01051 | 21517 | CC_scale_factor2 | 0.45
ADCPSM | 2014-03-27 |  | A01051 | 21517 | CC_scale_factor3 | 0.45
ADCPSM | 2014-03-27 |  | A01051 | 21517 | CC_scale_factor4 | 0.45
ADCPSM | 2014-03-27 |  | A01052 | 21522 | CC_scale_factor1 | 0.45 |  | From CE01ISSM-00003, CE06ISSM-00004
ADCPSM | 2014-03-27 |  | A01052 | 21522 | CC_scale_factor2 | 0.45
ADCPSM | 2014-03-27 |  | A01052 | 21522 | CC_scale_factor3 | 0.45
ADCPSM | 2014-03-27 |  | A01052 | 21522 | CC_scale_factor4 | 0.45
ADCPSM | 2014-03-20 |  | N00421 | 21524 | CC_scale_factor1 | 0.45 |  | From CE06ISSM-00002
ADCPSM | 2014-03-20 |  | N00421 | 21524 | CC_scale_factor2 | 0.45
ADCPSM | 2014-03-20 |  | N00421 | 21524 | CC_scale_factor3 | 0.45
ADCPSM | 2014-03-20 |  | N00421 | 21524 | CC_scale_factor4 | 0.45
ADCPSN | 2013-04-22 |  | A00854 | 21638 | CC_scale_factor1 | 0.45 | constant | From GA01SUMO-00002
ADCPSN | 2013-04-22 |  | A00854 | 21638 | CC_scale_factor2 | 0.45 | constant
ADCPSN | 2013-04-22 |  | A00854 | 21638 | CC_scale_factor3 | 0.45 | constant
ADCPSN | 2013-04-22 |  | A00854 | 21638 | CC_scale_factor4 | 0.45 | constant
ADCPSJ | 2014-05-30 |  | A00856 | 21639 | CC_scale_factor1 | 0.45 |  | From GA01SUMO-00001
ADCPSJ | 2014-05-30 |  | A00856 | 21639 | CC_scale_factor2 | 0.45
ADCPSJ | 2014-05-30 |  | A00856 | 21639 | CC_scale_factor3 | 0.45
ADCPSJ | 2014-05-30 |  | A00856 | 21639 | CC_scale_factor4 | 0.45
ADCPSN | 2014-01-28 |  | A00853 | 21654 | CC_scale_factor1 | 0.45 |  | From GA01SUMO-00003
ADCPSN | 2014-01-28 |  | A00853 | 21654 | CC_scale_factor2 | 0.45
ADCPSN | 2014-01-28 |  | A00853 | 21654 | CC_scale_factor3 | 0.45
ADCPSN | 2014-01-28 |  | A00853 | 21654 | CC_scale_factor4 | 0.45
ADCPSN | 2014-04-22 |  | A00855 | 21717 | CC_scale_factor1 | 0.45 | Per Chris Wingard, for all ADCPT and ADCPS instruments use a value of 0.45 dB/count. | From GI01SUMO-00001
ADCPSN | 2014-04-22 |  | A00855 | 21717 | CC_scale_factor2 | 0.45 | Per Chris Wingard, for all ADCPT and ADCPS instruments use a value of 0.45 dB/count.
ADCPSN | 2014-04-22 |  | A00855 | 21717 | CC_scale_factor3 | 0.45 | Per Chris Wingard, for all ADCPT and ADCPS instruments use a value of 0.45 dB/count.
ADCPSN | 2014-04-22 |  | A00855 | 21717 | CC_scale_factor4 | 0.45 | Per Chris Wingard, for all ADCPT and ADCPS instruments use a value of 0.45 dB/count.
ADCPSC | 2014-05-06 |  | A01055 | 22114 | CC_scale_factor1 | 0.45 |  | From CE07SHSM-00002
ADCPSC | 2014-05-06 |  | A01055 | 22114 | CC_scale_factor2 | 0.45
ADCPSC | 2014-05-06 |  | A01055 | 22114 | CC_scale_factor3 | 0.45
ADCPSC | 2014-05-06 |  | A01055 | 22114 | CC_scale_factor4 | 0.45
ADCPSB | 2014-05-06 |  | A01054 | 22115 | CC_scale_factor1 | 0.45
ADCPSB | 2014-05-06 |  | A01054 | 22115 | CC_scale_factor2 | 0.45
ADCPSB | 2014-05-06 |  | A01054 | 22115 | CC_scale_factor3 | 0.45
ADCPSB | 2014-05-06 |  | A01054 | 22115 | CC_scale_factor4 | 0.45
ADCPSM | 2014-03-27 |  | A01053 | 22115 | CC_scale_factor1 | 0.45
ADCPSM | 2014-03-27 |  | A01053 | 22115 | CC_scale_factor2 | 0.45
ADCPSM | 2014-03-27 |  | A01053 | 22115 | CC_scale_factor3 | 0.45
ADCPSM | 2014-03-27 |  | A01053 | 22115 | CC_scale_factor4 | 0.45
ADCPSJ | 2015-01-01 |  | A01221 | 22642 | CC_scale_factor1 | 0.45 |  | From CP04OSSM-00002, CP04OSSM-00004
ADCPSJ | 2015-01-01 |  | A01221 | 22642 | CC_scale_factor2 | 0.45
ADCPSJ | 2015-01-01 |  | A01221 | 22642 | CC_scale_factor3 | 0.45
ADCPSJ | 2015-01-01 |  | A01221 | 22642 | CC_scale_factor4 | 0.45
ADCPSJ | 2014-10-27 |  | A01243 | 22649 | CC_scale_factor1 | 0.45 |  | From CE09OSSM-00002
ADCPSJ | 2014-10-27 |  | A01243 | 22649 | CC_scale_factor2 | 0.45
ADCPSJ | 2014-10-27 |  | A01243 | 22649 | CC_scale_factor3 | 0.45
ADCPSJ | 2014-10-27 |  | A01243 | 22649 | CC_scale_factor4 | 0.45
ADCPSL | 2015-06-22 |  | A01512 | 22650 | CC_scale_factor1 | 0.45
ADCPSL | 2015-06-22 |  | A01512 | 22650 | CC_scale_factor2 | 0.45
ADCPSL | 2015-06-22 |  | A01512 | 22650 | CC_scale_factor3 | 0.45
ADCPSL | 2015-06-22 |  | A01512 | 22650 | CC_scale_factor4 | 0.45
ADCPTF | 2014-12-12 |  | A01220 | 22672 | CC_scale_factor1 | 0.45 |  | From CP01CNSM-00005
ADCPTF | 2014-12-12 |  | A01220 | 22672 | CC_scale_factor2 | 0.45
ADCPTF | 2014-12-12 |  | A01220 | 22672 | CC_scale_factor3 | 0.45
ADCPTF | 2014-12-12 |  | A01220 | 22672 | CC_scale_factor4 | 0.45
ADCPSC | 2015-01-23 |  | A01246 | 22717 | CC_scale_factor1 | 0.45 |  | From CE09OSSM-00002
ADCPSC | 2015-01-23 |  | A01246 | 22717 | CC_scale_factor2 | 0.45
ADCPSC | 2015-01-23 |  | A01246 | 22717 | CC_scale_factor3 | 0.45
ADCPSC | 2015-01-23 |  | A01246 | 22717 | CC_scale_factor4 | 0.45
ADCPSC | 2015-02-04 |  | A01247 | 22808 | CC_scale_factor1 | 0.45
ADCPSC | 2015-02-04 |  | A01247 | 22808 | CC_scale_factor2 | 0.45
ADCPSC | 2015-02-04 |  | A01247 | 22808 | CC_scale_factor3 | 0.45
ADCPSC | 2015-02-04 |  | A01247 | 22808 | CC_scale_factor4 | 0.45
ADCPSC | 2015-01-27 |  | A01248 | 22809 | CC_scale_factor1 | 0.45 |  | From CE07SHSM-00002
ADCPSC | 2015-01-27 |  | A01248 | 22809 | CC_scale_factor2 | 0.45
ADCPSC | 2015-01-27 |  | A01248 | 22809 | CC_scale_factor3 | 0.45
ADCPSC | 2015-01-27 |  | A01248 | 22809 | CC_scale_factor4 | 0.45
ADCPSA | 2015-01-23 |  | A01244 | 22814 | CC_scale_factor1 | 0.45
ADCPSA | 2015-01-23 |  | A01244 | 22814 | CC_scale_factor2 | 0.45
ADCPSA | 2015-01-23 |  | A01244 | 22814 | CC_scale_factor3 | 0.45
ADCPSA | 2015-01-23 |  | A01244 | 22814 | CC_scale_factor4 | 0.45
ADCPSA | 2015-01-23 |  | A01245 | 22816 | CC_scale_factor1 | 0.45
ADCPSA | 2015-01-23 |  | A01245 | 22816 | CC_scale_factor2 | 0.45
ADCPSA | 2015-01-23 |  | A01245 | 22816 | CC_scale_factor3 | 0.45
ADCPSA | 2015-01-23 |  | A01245 | 22816 | CC_scale_factor4 | 0.45
ADCPSL | 2015-01-01 |  | A01511 | 22846 | CC_scale_factor1 | 0.45 |  | From GP03FLMB-00003
ADCPSL | 2015-01-01 |  | A01511 | 22846 | CC_scale_factor2 | 0.45
ADCPSL | 2015-01-01 |  | A01511 | 22846 | CC_scale_factor3 | 0.45
ADCPSL | 2015-01-01 |  | A01511 | 22846 | CC_scale_factor4 | 0.45
ADCPSN | 2014-05-30 |  | A01242 | 22865 | CC_scale_factor1 | 0.45 |  | From GI01SUMO-00002
ADCPSN | 2014-05-30 |  | A01242 | 22865 | CC_scale_factor2 | 0.45
ADCPSN | 2014-05-30 |  | A01242 | 22865 | CC_scale_factor3 | 0.45
ADCPSN | 2014-05-30 |  | A01242 | 22865 | CC_scale_factor4 | 0.45
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00004 | 23338 | CC_scale_factor1 | 0.45 |  | From RS01SBPS
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00004 | 23338 | CC_scale_factor2 | 0.45
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00004 | 23338 | CC_scale_factor3 | 0.45
ADCPSJ | 2015-06-01 |  | ATAPL-58315-00004 | 23338 | CC_scale_factor4 | 0.45
ADCPTD | 2015-09-14 |  | ATAPL-58315-00005 | 23339 | CC_scale_factor1 | 0.45 |  | From RS03AXPS
ADCPTD | 2015-09-14 |  | ATAPL-58315-00005 | 23339 | CC_scale_factor2 | 0.45
ADCPTD | 2015-09-14 |  | ATAPL-58315-00005 | 23339 | CC_scale_factor3 | 0.45
ADCPTD | 2015-09-14 |  | ATAPL-58315-00005 | 23339 | CC_scale_factor4 | 0.45
VADCPA | 2015-06-01 |  | ATAPL-58345-00004 | 23340 | CC_scale_factor1 | 0.45 |  | From RS01SBPS
VADCPA | 2015-06-01 |  | ATAPL-58345-00004 | 23340 | CC_scale_factor2 | 0.45
VADCPA | 2015-06-01 |  | ATAPL-58345-00004 | 23340 | CC_scale_factor3 | 0.45
VADCPA | 2015-06-01 |  | ATAPL-58345-00004 | 23340 | CC_scale_factor4 | 0.45
VADCPA | 2015-01-01 |  | ATAPL-58345-00005 | 23341 | CC_scale_factor1 | 0.45 |  | From RS03AXPS
VADCPA | 2015-01-01 |  | ATAPL-58345-00005 | 23341 | CC_scale_factor2 | 0.45
VADCPA | 2015-01-01 |  | ATAPL-58345-00005 | 23341 | CC_scale_factor3 | 0.45
VADCPA | 2015-01-01 |  | ATAPL-58345-00005 | 23341 | CC_scale_factor4 | 0.45
ADCPSL | 2014-05-30 |  | A01509 | 23380 | CC_scale_factor1 | 0.45 |  | From GI03FLMA-00002
ADCPSL | 2014-05-30 |  | A01509 | 23380 | CC_scale_factor2 | 0.45
ADCPSL | 2014-05-30 |  | A01509 | 23380 | CC_scale_factor3 | 0.45
ADCPSL | 2014-05-30 |  | A01509 | 23380 | CC_scale_factor4 | 0.45
ADCPSL | 2014-05-30 |  | A01510 | 23381 | CC_scale_factor1 | 0.45 |  | From GI03FLMB-00002
ADCPSL | 2014-05-30 |  | A01510 | 23381 | CC_scale_factor2 | 0.45
ADCPSL | 2014-05-30 |  | A01510 | 23381 | CC_scale_factor3 | 0.45
ADCPSL | 2014-05-30 |  | A01510 | 23381 | CC_scale_factor4 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00004 | 23442 | CC_scale_factor1 | 0.45 |  | From RS01SLBS
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00004 | 23442 | CC_scale_factor2 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00004 | 23442 | CC_scale_factor3 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00004 | 23442 | CC_scale_factor4 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00005 | 23443 | CC_scale_factor1 | 0.45 |  | From RS03AXBS
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00005 | 23443 | CC_scale_factor2 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00005 | 23443 | CC_scale_factor3 | 0.45
ADCPSTE | 2013-10-07 |  | ATAPL-68073-00005 | 23443 | CC_scale_factor4 | 0.45
ADCPSN | 2013-10-07 |  | A01507 | 23497 | CC_scale_factor1 | 0.45
ADCPSN | 2013-10-07 |  | A01507 | 23497 | CC_scale_factor2 | 0.45
ADCPSN | 2013-10-07 |  | A01507 | 23497 | CC_scale_factor3 | 0.45
ADCPSN | 2013-10-07 |  | A01507 | 23497 | CC_scale_factor4 | 0.45
ADCPSN | 2014-05-30 |  | A01508 | 23498 | CC_scale_factor1 | 0.45
ADCPSN | 2014-05-30 |  | A01508 | 23498 | CC_scale_factor2 | 0.45
ADCPSN | 2014-05-30 |  | A01508 | 23498 | CC_scale_factor3 | 0.45
ADCPSN | 2014-05-30 |  | A01508 | 23498 | CC_scale_factor4 | 0.45
ADCPSN | 2015-06-24 |  | A01534 | 23579 | CC_scale_factor1 | 0.45
ADCPSN | 2015-06-24 |  | A01534 | 23579 | CC_scale_factor2 | 0.45
ADCPSN | 2015-06-24 |  | A01534 | 23579 | CC_scale_factor3 | 0.45
ADCPSN | 2015-06-24 |  | A01534 | 23579 | CC_scale_factor4 | 0.45
ADCPSN | 2015-06-26 |  | A01535 | 23580 | CC_scale_factor1 | 0.45 |  | From GS01SUMO-00002
ADCPSN | 2015-06-26 |  | A01535 | 23580 | CC_scale_factor2 | 0.45
ADCPSN | 2015-06-26 |  | A01535 | 23580 | CC_scale_factor3 | 0.45
ADCPSN | 2015-06-26 |  | A01535 | 23580 | CC_scale_factor4 | 0.45