## Asset_Cal_Info
Sensor Code | startDateTime | stopDateTime | Sensor.uid | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value | Notes | Source | Undefined Sensors
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_cala
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_calb
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_calc
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_calt
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_ea434 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_ea620 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_eb434 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2013-02-07 | ATAPL-58336-00001 | C0047 | CC_eb620 | Constant for a particular batch of reagent
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_cala | 0.0054 |  | From GA01SUMO-00001
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_calb | 1.1213
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_calc | -2.5544
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_calt | 14.1
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_ea434 | 19706
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_ea620 | 34
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_eb434 | 3073
PCO2WB | 2012-09-13 |  | A00062 | C0050 | CC_eb620 | 44327
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_cala | -0.0459 | Instrument specific calibration coefficient for the pCO2 measurements | From GI01SUMO-00001
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_calb | 1.0761 | Instrument specific calibration coefficient for the pCO2 measurements
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_calc | -2.1138 | Instrument specific calibration coefficient for the pCO2 measurements
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_calt | 14.2 | Instrument specific calibration coefficient for temperature
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_ea434 | 19706 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_ea620 | 34 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_eb434 | 3073 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2012-09-13 |  | A00063 | C0051 | CC_eb620 | 44327 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_cala | 0.0389 | Instrument specific calibration coefficient for the pCO2 measurements | From CP01CNSM-00005
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_calb | 0.6093 | Instrument specific calibration coefficient for the pCO2 measurements
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_calc | -1.4564 | Instrument specific calibration coefficient for the pCO2 measurements
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_calt | 14.3936 | Instrument specific calibration coefficient for temperature
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_ea434 | 19706 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_ea620 | 34 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_eb434 | 3073 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2016-01-01 |  | A00063 | C0051 | CC_eb620 | 44327 | Parameters per vendor via Chris Wingard; Reagent specific calibration coefficient
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_cala | -0.0268 |  | From CE01ISSM-00003
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_calb | 0.9599
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_calc | -1.9704
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_calt | 16.39
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00073 | C0052 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_cala | 0.0855 |  | From CE01ISSM-00005
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_calb | 0.3848
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_calc | -1.2077
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_calt | 14.5989
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00073 | C0052 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_cala | -0.0284 |  | From CE06ISSM-00001
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_calb | 1.0074
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_calc | -2.1084
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_calt | 16.45
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2012-09-24 |  | A00074 | C0053 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_cala | -0.1292 |  | From CE01ISSM-00001
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_calb | 1.4294
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_calc | -2.4643
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_calt | 14.69
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00258 | C0061 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_cala | 0.1303 |  | From CE01ISSM-00004
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_calb | 0.1656
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_calc | -0.9564
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_calt | 14.6594
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00258 | C0061 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_cala | -0.1789 |  | From CE06ISSM-00001
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_calb | 1.7224
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_calc | -2.9289
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_calt | 14.7
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00259 | C0062 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_cala | -0.1754 |  | From CE01ISSM-00001
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_calb | 1.6986
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_calc | -2.8828
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_calt | 14.8
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2013-03-08 |  | A00260 | C0063 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_cala | 0.0803 |  | From CE01ISSM-00004
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_calb | 0.4242
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_calc | -1.2799
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_calt | 14.7166
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00260 | C0063 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_cala | -0.0956 |  | From CE01ISSM-00003
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_calb | 1.2159
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_calc | -2.2899
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_calt | 14.6716
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2015-01-01 |  | A00260 | C0063 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_ea434 | 3073 |  | From CE02SHBP-00001
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_ea620 | 44327
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_eb434 | 19706
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_eb620 | 34
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_calt | 14.9 | Constant for a particular batch of reagent
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_cala | 0.0592 | Constant for a particular batch of reagent
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_calb | 0.4372 | Constant for a particular batch of reagent
PCO2WB | 2013-03-14 |  | A00265 | C0064 | CC_calc | -1.167 | Constant for a particular batch of reagent
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_cala | 0.0888 |  | From CP01CNSM-00001
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_calb | 0.2026
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_calc | -0.7048
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_calt | 15.7
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_ea434 | 19706
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_ea620 | 34
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_eb434 | 3073
PCO2WB | 2013-08-12 | 2015-05-31 | A00386 | C0069 | CC_eb620 | 44327
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_cala | 0.0888 |  | From CP01CNSM-00003
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_calb | 0.2026
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_calc | -0.7048
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_calt | 15.7
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_ea434 | 19706
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_ea620 | 34
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_eb434 | 3073
PCO2WB | 2015-01-01 |  | A00386 | C0069 | CC_eb620 | 44327
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_cala | 0.1039 |  | FromGS01SUMO-00001
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_calb | 0.1281
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_calc | -0.6439
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_calt | 15.7
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2013-08-20 |  | A00387 | C0070 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_cala | -0.0357 |  | From CP04OSSM-00004
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_calb | 1.065
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_calc | -2.083
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_calt | 3.5876
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2013-09-03 |  | A00465 | C0071 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_ea434 | 3073 |  | From RS03AXPS
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_ea620 | 44327
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_eb434 | 19706
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_eb620 | 34
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_calt | 15.12 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_cala | 0.0192 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_calb | 0.7693 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00002 | C0075 | CC_calc | -1.7584 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_ea434 | 3073 |  | From RS01SBPS
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_ea620 | 44327
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_eb434 | 19706
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_eb620 | 34
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_calt | 15.12 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_cala | 0.0192 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_calb | 0.7693 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00003 | C0076 | CC_calc | -1.7584 | Constant for a particular batch of reagent
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_eb434 | 3073 |  | From CE04OSPS-00001
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_eb620 | 44327
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_ea434 | 19706
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_ea620 | 34
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_calt | 14.94 | Constant for a particular batch of reagent
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_cala | 0.0042 | Constant for a particular batch of reagent
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_calb | 0.7825 | Constant for a particular batch of reagent
PCO2WB | 2013-11-04 |  | A00626 | C0078 | CC_calc | -1.669 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_eb434 | 3073 |  | From CE04OSPS-00001
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_eb620 | 44327
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_ea434 | 19706
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_ea620 | 34
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_calt | 15.7 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_cala | 0.081 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_calb | 0.2744 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00658 | C0079 | CC_calc | -0.8476 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_ea434 | 3073 |  | From CE04OSBP-00001
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_ea620 | 44327
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_eb434 | 19706
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_eb620 | 34
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_calt | 15.79 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_cala | 0.0838 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_calb | 0.2611 | Constant for a particular batch of reagent
PCO2WB | 2014-02-04 |  | A00659 | C0080 | CC_calc | -0.827 | Constant for a particular batch of reagent
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_cala | 0.0059 |  | From CE01ISSM-00002
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_calb | 0.7688
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_calc | -1.6688
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_calt | 15.7
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-01-09 |  | A00628 | C0081 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_cala | 0.0497 |  | From CE09OSSM-00002
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_calb | 0.5911
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_calc | -1.5395
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_calt | 14.9986
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00628 | C0081 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_cala | 0.0072 |  | From CE01ISSM000002
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_calb | 0.7352
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_calc | -1.5599
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_calt | 14.6
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-01-30 |  | A00800 | C0082 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_cala | 0.0324 |  | From CE06ISSM_00003
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_calb | 0.6905
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_calc | -1.6577
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_calt | 15.4182
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2015-06-01 |  | A00800 | C0082 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_cala | 0.0877 |  | From CE07SHSM-00001
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_calb | 0.4324
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_calc | -1.3556
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_calt | 14.85
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A00798 | C0083 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_cala | 0.0896 |  | From CE01ISSM-00005
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_calb | 0.3835
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_calc | -1.2454
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_calt | 14.5989
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A00798 | C0083 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_cala | 0.0072 |  | From CE09ISSM-00001
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_calb | 0.7352
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_calc | -1.5599
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_calt | 14.6
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-02-24 |  | A01038 | C0084 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_cala | 0.1027 |  | From CE06ISSM-00002
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_calb | 0.3534
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_calc | -1.2532
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_calt | 14.91
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-08-20 |  | A01064 | C0085 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_cala | -0.0312 |  | From CE09OSSM-00003
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_calb | 0.9691
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_calc | -1.9275
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_calt | 14.81
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01044 | C0089 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_ea434 | 3073 |  | From CE04OSBP-00002
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_ea620 | 44327
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_eb434 | 19706
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_eb620 | 34
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_calt | 14.9 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_cala | -0.0167 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_calb | 0.9127 | Constant for a particular batch of reagent
PCO2WB | 2014-02-12 |  | A01045 | C0090 | CC_calc | -1.8897 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_ea434 | 3073 |  | From RS01SBPS
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_ea620 | 44327
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_eb434 | 19706
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_eb620 | 34
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_calt | 14.89 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_cala | -0.1533 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_calb | 1.6218 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00004 | C0091 | CC_calc | -2.8071 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2014-06-04 | A00999 | C0096 | CC_cala
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_calb
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_calc
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_calt
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_ea434 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_ea620 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_eb434 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2014-06-01 | A00999 | C0096 | CC_eb620 | Constant for a particular batch of reagent
PCO2WB | 2014-06-04 |  | A01000 | C0097 | CC_cala | -0.005 |  | From CP04OSSM-00001
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_calb | 0.8741
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_calc | -1.8972
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_calt | 14.79
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-06-01 |  | A01000 | C0097 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_cala | -0.005 |  | From CP03ISSM-00004
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_calb | 0.8741
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_calc | -1.8972
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_calt | 14.79
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | A01000 | C0097 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_cala | -0.0084 |  | From CP03ISSM-00002
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_calb | 0.9124
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_calc | -1.958
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_calt | 14.77
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-09-17 |  | A01009 | C0098 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_cala | -0.0398 |  | From CP04OSSM-00002
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_calb | 1.0529
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_calc | -2.1104
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_calt | 14.5807
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_ea434 | 19706
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_ea620 | 34
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_eb434 | 3073
PCO2WB | 2014-11-04 |  | A01156 | C0099 | CC_eb620 | 44327
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_cala | 0.0545 |  | From GI01SUMO-00003
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_calb | 0.6081
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_calc | -1.5068
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_calt | 3.783
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_ea434 | 19706
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_ea620 | 34
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_eb434 | 3073
PCO2WB | 2016-01-01 |  | A01156 | C0099 | CC_eb620 | 44327
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_cala | -0.0119 |  | From GI01SUMO-00002
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_calb | 0.9119
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_calc | -1.9373
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_calt | 14.36
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_ea434 | 19706
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_ea620 | 34
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_eb434 | 3073
PCO2WB | 2014-11-04 |  | A01157 | C0100 | CC_eb620 | 44327
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_cala | -0.0483 |  | From GS01SUMO-00001
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_calb | 1.0979
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_calc | -2.2056
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_calt | 14.63
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WC | 2014-11-04 |  | A01155 | C0103 | CC_eb620 | 44327 | Constant for a particular batch of reagent
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_cala
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_calb
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_calc
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_calt
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_ea434 | Constant for a particular batch of reagent
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_ea620 | Constant for a particular batch of reagent
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_eb434 | Constant for a particular batch of reagent
[9 empty] | PCO2WC | 2014-12-01 | A01181 | C0104 | CC_eb620 | Constant for a particular batch of reagent
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_cala | -0.1654 |  | From GS01SUMO-00001
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_calb | 1.6789
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_calc | -2.8398
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_calt | 14.44
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WC | 2014-12-01 |  | A01182 | C0105 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_cala | -0.2193 |  | From GA01SUMO-00001
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_calb | 1.9522
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_calc | -3.2204
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_calt | 14.35
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_ea434 | 19706
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_ea620 | 34
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_eb434 | 3073
PCO2WB | 2014-12-01 |  | A01183 | C0106 | CC_eb620 | 44327
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_cala | -0.0418 |  | From GI01SUMO-00002
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_calb | 1.092
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_calc | -2.1852
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_calt | 14.1292
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_ea434 | 19706
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_ea620 | 34
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_eb434 | 3073
PCO2WB | 2014-11-20 |  | A01224 | C0107 | CC_eb620 | 44327
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_cala | -0.2644 |  | From GA01SUMO-00001
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_calb | 2.1598
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_calc | -3.4547
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_calt | 14.44
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_ea434 | 19706
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_ea620 | 34
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_eb434 | 3073
PCO2WB | 2014-12-01 |  | A01184 | C0108 | CC_eb620 | 44327
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_cala | 0.106 |  | From GA01SUMO-00001
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_calb | 0.3
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_calc | -1.115
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_calt | 14.4309
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_ea434 | 19706
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_ea620 | 34
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_eb434 | 3073
PCO2WB | 2013-02-18 |  | A01201 | C0109 | CC_eb620 | 44327
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_cala | 0.717 |  | From GI01SUMO-00002
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_calb | 0.5029
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_calc | -1.4136
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_calt | 14.28
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_ea434 | 19706
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_ea620 | 34
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_eb434 | 3073
PCO2WB | 2014-12-23 |  | A01227 | C0110 | CC_eb620 | 44327
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_cala | 0.0056 |  | From GA01SUMO-00002
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_calb | 0.5501
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_calc | -1.4406
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_calt | 14.184
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2013-02-18 |  | A01202 | C0112 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_cala | 0.00579
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_calb | 0.5294
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_calc | -1.3918
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_calt | 14.3078
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2014-12-23 |  | A01228 | C0113 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_eb434 | 3073 |  | From CE04OSPS-00002
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_eb620 | 44327
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_ea434 | 19706
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_ea620 | 34
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_calt | 14.655 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_cala | 0.0272 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_calb | 0.6758 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01645 | C0116 | CC_calc | -1.6245 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_eb434 | 3073 |  | From CE04OSPS-00002
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_eb620 | 44327
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_ea434 | 19706
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_ea620 | 34
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_calt | 14.6885 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_cala | 0.0766 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_calb | 0.4698 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01646 | C0117 | CC_calc | -1.3974 | Constant for a particular batch of reagent
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_ea434 | 3073 |  | From CE02SHBP-00002
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_ea620 | 44327
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_eb434 | 19706
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_eb620 | 34
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_calt | 14.635
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_cala | 0.0767
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_calb | 0.4333
PCO2WB | 2015-07-01 |  | A01647 | C0118 | CC_calc | -1.2901
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_cala | -0.0297 |  | From CE07SHSM-00002
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_calb | 1.0106
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_calc | -2.0565
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_calt | 14.7884
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2015-04-06 |  | A01648 | C0119 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_cala | 0.0448 |  | From GI01SUMO-00002
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_calb | 0.6465
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_calc | -1.6147
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_calt | 14.7821
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_ea434 | 19706
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_ea620 | 34
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_eb434 | 3073
PCO2WB | 2015-05-19 |  | A01434 | C0120 | CC_eb620 | 44327
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_cala | 0.0474 |  | From GA01SUMO-00002
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_calb | 0.6838
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_calc | -1.7883
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_calt | 14.8329
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | OL000096 | C0121 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_cala | -0.0988 |  | From GA01SUMO-00002
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_calb | 1.5456
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_calc | -3.0502
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_calt | 25.7299
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2015-06-01 |  | A01474 | C0122 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_ea434 | 3073 |  | From RS03AXPS
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_ea620 | 44327
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_eb434 | 19706
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_eb620 | 34
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_calt | 14.76 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_cala | 0.0274 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_calb | 0.7328 | Constant for a particular batch of reagent
PCO2WA | 2013-02-07 |  | ATAPL-58336-00009 | C0123 | CC_calc | -1.7433 | Constant for a particular batch of reagent
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_ea434
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_ea620
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_eb434
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_eb620
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_calt | Constant for a particular batch of reagent
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_cala | Constant for a particular batch of reagent
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_calb | Constant for a particular batch of reagent
[9 empty] | PCO2WA | 2013-02-07 | ATAPL-58336-00010 | C0124 | CC_calc | Constant for a particular batch of reagent
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_cala | 0.0119 |  | From CE01ISSM-00004
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_calb | 0.8161
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_calc | -1.8476
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_calt | 15.0078
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2014-04-15 |  | N00667 | C0126 | CC_eb620 | 44327 | Constant for a particular batch of reagent
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_cala
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_calb
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_calc
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_calt
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_ea434
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_ea620
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_eb434
[9 empty] | PCO2WB | 2015-08-10 | A01709 | C0127 | CC_eb620
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_cala | 0.0982 |  | From GS01SUMO-00002
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_calb | 0.3907
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_calc | -1.2949
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_calt | 15.4114
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01764 | C0128 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_cala | 0.08 |  | From GS01SUMO-00002
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_calb | 0.4215
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_calc | -1.2713
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_calt | 15.3482
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | A01765 | C0129 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_cala | 0.0895 |  | From GS01SUMO-00002
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_calb | 0.3668
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_calc | -1.1526
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_calt | 15.2247
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_ea434 | 19706 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_ea620 | 34 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_eb434 | 3073 | constant for each batch of reagent
PCO2WB | 2015-08-31 |  | OL000074 | C0130 | CC_eb620 | 44327 | constant for each batch of reagent
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_cala | 0.0265 |  | From GI01SUMO-00003
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_calb | 0.7006
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_calc | -1.5838
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_calt | 14.4121
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000590 | C0136 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_cala | 0.0607 |  | From GI01SUMO-00003
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_calb | 0.5553
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_calc | -1.4483
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_calt | 14.4931
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000591 | C0137 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_cala | 0.0599 |  | From GI01SUMO-00003
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_calb | 0.5992
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_calc | -1.4993
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_calt | 3.7827
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000592 | C0138 | CC_eb620 | 44327 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_cala | 0.067 |  | From CE07SHSM-00003
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_calb | 0.5295
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_calc | -1.4259
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_calt | 14.5215
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_ea434 | 19706 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_ea620 | 34 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_eb434 | 3073 | Constant for a particular batch of reagent
PCO2WB | 2016-01-01 |  | OL000434 | C0147 | CC_eb620 | 44327 | Constant for a particular batch of reagent